## Meter Description
Substaion name | meter id | Connected loads | Description |  | Data | Reason
AB | 2 | Acad Blocks | incomer 1 - ME Block C emergency |  | yes
| 3 | Acad Blocks | incomer 2 - Civil Block B emergency , QC lab |  | yes
| 4 | Acad Blocks | incomer 3 - Block A emergency, pump room |  | no | Meter not responding
| 5 | Acad Blocks | Main normal panel from TF1- Civil Normal and emergency ME1 |  | no | Meter not responding
| 6 | Acad Blocks | TF2 normal- Normal Chemical, Emergency civil |  | yes
| 7 | Acad Blocks | TF3 normal- Normal ME1, Emergency Chemical |  | yes
| 8 | Acad Blocks | Normal Panel- Civil Block B |  | yes
| 9 | Acad Blocks | Normal Panel-chemical block A normal panel |  | yes
| 10 | Acad Blocks | Normal Panel- ME Block C |  | no | Meter not responding
GH | 11 | Girls Hostel | GH Normal |  | yes
| 12 | Girls Hostel | GH Emergency |  | yes
BH | 13 | Boys Hostel | Dining + Boys Hostel + P Block (Normal) |  | no | Meters off
| 14 | Boys Hostel | Dining + Boys Hostel + P Block (Normal) |  | yes
| 15 | Boys Hostel | Boys Hostel + P Block (Emergency) |  | no | Meters off
| 16 | Boys Hostel | Water Pumping for Hostels + sports lighting |  | yes
WT | 17 | Street lights and i mast | Street Lighting of IITH | WTP | yes
FH | 24 | Faculty Housing | Normal Panel |  | yes
| 1 | Faculty Housing | Emergency panel |  | yes
SH | 26 | Staff Housing | Emergency panel |  | yes
| 25 | Staff Housing | Normal Panel |  | yes
ST | 23 | STP | Emergency panel incormer 2 |  | yes
CP | 101 | Chiller Plant | HVAC for academic buildings |  | yes
RC | 1 | Radiant cooling | Radiant cooling for hostels |  | yes
WP | 20 | Water Pumping to Chiller plant | Water pumping to chiller plant |  | yes